ALL TEXT DRAFT

- Section 144200 - Wheelchair Lifts

  - PART 1 - 	GENERAL

    - SECTION INCLUDES

      - Delegated Design.

      - Vertical platform lifts.

    - Related Requirements

      - Section << 033000 - Cast-in-Place Concrete>>: for setting sleeves, inserts, and anchoring devices in concrete.

      - Section << 062000 - Finish Carpentry>>: for runway-enclosure walls and doors.

      - Section << 099000 - Painting and Coating>>: for field painting of lift equipment.

    - REFERENCES

      - American Society of Mechanical Engineers (ASME) and American National Standards Institute (ANSI): ASME/ANSI A17.1 - Safety Code for Elevators, Dumbwaiters, Escalators, and Moving Stairs; Section 2000.

      - AAMA 611 - Specification for Anodized Architectural Aluminum; 2024.

      - AAMA 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels (with Coil Coating Appendix); 2022.

      - ANSI A117.1 - Accessible and Usable Buildings and Facilities; 2017.

      - ASME A18.1 - Safety Standard for Platform Lifts and Stairway Chairlifts; 2017.

      - ASTM A36/A36M - Standard Specification for Carbon Structural Steel; 2019.

      - ASTM A53/A53M - Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless; 2020.

      - ASTM A123/A123M - Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products; 2017.

      - ASTM A153/A153M - Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware; 2023.

      - ASTM A240/A240M - Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications; 2025a.

      - ASTM A500/A500M - Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes; 2023.

      - ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process; 2025.

      - ASTM A666/A666M - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar; 2024.

      - ASTM A1008/A1008M - Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, Required Hardness, Solution Hardened, and Bake Hardenable; 2024.

      - ASTM A1011/A1011M - Standard Specification for Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength; 2023.

      - ASTM B209/B209M - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate; 2021a.

      - ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes; 2020.

      - ASTM B633 - Standard Specification for Electrodeposited Coatings of Zinc on Iron and Steel; 2019.

      - ASTM C1107/C1107M - Standard Specification for Packaged Dry, Hydraulic-Cement Grout (Nonshrink); 2017.

      - ASTM E488/E488M - Standard Test Methods for Strength of Anchors in Concrete Elements; 2018.

      - ASTM G90 - Standard Practice for Performing Accelerated Outdoor Weathering of Materials Using Concentrated Natural Sunlight; 2017.

      - ICC A117.1 - Accessible and Usable Buildings and Facilities; 2017.

      - International Code Council (ICC) and American National Standards Institute (ANSI): ICC/ANSI A117.1 - Standard on Accessible and Useable Buildings and Facilities.

      - National Fire Protection Association (NFPA): NFPA 70 - National Electric Code

    - DEFINITIONS

      - Definitions in <<ASME A18.1>> apply to Work of this Section.

    - SUBMITTALS

      - Product Data:  For each type of product.

        - Include construction details, material descriptions, dimensions of individual components, and finishes for lifts.

        - Include rated capacities, operating characteristics, electrical characteristics, safety features, controls, finishes, and accessories.

      - Shop Drawings:  For each lift.

        - Include plans, elevations, sections, details, attachments to other work, and required clearances.

        - Indicate dimensions, weights, loads, and points of load to building structure.

        - Include details of equipment assemblies, method of field assembly, components, and location and size of each field connection.

        - Include diagrams for power, signal, and control wiring.

      - Samples for Initial Selection:  For surfaces and components with factory-applied color finishes.

        - Include Samples of integrally colored materials and accessories involving color selection.

      - Samples for Verification:  For each type of exposed finish required, prepared on Samples of sizes indicated below:

        - Metal Finish:  Manufacturer's standard-size unit, not less than 3 inches square.

        - Fiberglass Finish:  Manufacturer's standard-size unit, not less than 3 inches square.

        - Tubular Products and Running Trim:  Manufacturer's standard-size unit, 6 inches long.

        - Glass and Glazing:  Units 12 inches square.

        - Hardware:  Manufacturer's standard, exposed, door-operating device.

- ~~~~~ PROJECT NOTE ~~~~~~
Request qualification statements if qualifications are defined in PART 1 under the QUALITY ASSURANCE article.
~~~ END OF PROJECT NOTE ~~~~

      - Installer's qualification statement.

    - INFORMATIONAL SUBMITTALS

      - Qualification Data:  For manufacturer vendor and Installer.

      - Product Certificates:  For each type of lift.

        - Include statement that runway, ramp or pit, dimensions as shown on Drawings, and electrical service as shown and specified are adequate for lift being provided.

      - Sample Warranty:  For special warranty.

      - Operation and Maintenance Data:  For each type of lift to include in operation and maintenance manuals.

        - In addition to items specified in Section 017800 "Closeout Submittals” include the following:

          - Parts list with sources indicated.

          - Recommended parts inventory list.

      - Inspection and Acceptance Certificates and Operating Permits:  As required by authorities having jurisdiction for normal, unrestricted use of lifts.

      - Continuing Maintenance Proposal:  Submit a continuing maintenance proposal from Installer to Owner, in the form of a standard five-year maintenance agreement, starting on date initial maintenance service is concluded.  State services, obligations, conditions, and terms for agreement period and for future renewal options.

    - QUALITY ASSURANCE

      - Installer Qualifications:  An authorized representative who is trained and approved by manufacturer.

        - Maintenance Proximity:  Not more than two hours' normal travel time from Installer's place of business to Project site.

    - WARRANTY

      - Special Warranty:  Manufacturer agrees to repair or replace components of lifts that fail in materials or workmanship within specified warranty period.

        - Warranty Period:  Two years from date of Substantial Completion.

  - PART 2 - 	PRODUCTS

    - PERFORMANCE REQUIREMENTS

      - Accessibility Requirements:  Comply with applicable provisions in the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines and<<ICC A117.1>>​​

      - Regulatory Requirements:  Comply with <<ASME A18.1>>, "Safety Standard for Platform Lifts and Stairway Chairlifts."

      - Design and installation shall conform to ICC/<<ICC A117.1>>/<<ANSI A117.1>>​ for provisions for physically handicapped

    - VERTICAL PLATFORM LIFT

      - Vertical Platform Lift, General:  “Wheelchair” lift.

        - Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

        - Basis-of-Design Product  Subject to compliance with requirements, provide a ThyssenKrupp Access: Model PLS-120 or comparable product by one of the following:

          - Liftavator: www.liftavator.com

          - Florlift of New Jersey, Inc.

          - Garaventa Lift.

          - Savaria Concord Lifts.

      - Number of Stops:  Two.

      - Travel Distance: 9 foot 2 inches

      - Platform Size 36 by 48 inches platform with exit and entrance openings to be installed in 49.5 by 53 inches site constructed enclosure tower.

      - Motor: D/C Hydraulic: ¾ hp motor, 24 VDC

      - Rated Speed:  20 fpm.

      - Power Supply:  115/120 V, 60 Hz, one phase 20 Amp.

      - Emergency Operation:  Provide manual operation and battery power system to raise or lower unit in case of malfunction or power loss.

      - Attendant Operation:  Provide attendant call device at each landing.

        - Platform control: constant pressure. with keylock, emergency stop and alarm.

      - Self-Supporting Unit:  Support vertical loads of unit only at base, with lateral support only at landing levels.

      - Machine Shroud enclosure.

      - Telephone jack, and connection to facility telecommunication system

      - Platform:  Steel sheet or galvanized-steel sheet minimum 12 gage, with matte non slip finish.

      - Sidewalls, Doors, and Guards:  Platform-mounted sidewalls and platform-mounted guards according to<<ASME A18.1>> and as follows:

        - Sidewalls:  Rectangular steel-tube frame with flush steel-sheet panels.

        - Grab rails: Manufacturer’s standard handrail at Code compliant mounting height.

        - Door: provide manufacturer's full height door with auto opener.

      - Enclosure gates: Provide steel framed panel gates for upper and lower levels

        - 36 x 42 high

        - Hardware: Spring hinges and lever handle latch set.

        - Provide stainless steel kick plates on both sides of gate

        - Provide upper level gates with adjustable steel fascia extending into enclosure well

    - MATERIALS

      - Steel Plates, Shapes, and Bars: <<ASTM A36/A36M>>.

      - Steel Tubing: <<ASTM A500/A500M>>​.

      - Steel Pipe: <<ASTM A53/A53M>>​; standard weight (Schedule 40) unless otherwise indicated or required by loads.

      - Steel Sheet: <<ASTM A1008/A1008M>>, cold-rolled commercial steel (CS) or <<ASTM A1011/A1011M>>​​​​​​​​​​​​​​ hot-rolled, commercial steel (CS); as required for each use.

      - Galvanized-Steel Sheet:  <<ASTM A653/A653M>> , <<ASTM G90>>  zinc coating,

      - Galvanizing:  Hot-dip galvanize items complying with the following:

        - <<ASTM A123/A123M>>, for galvanizing steel and iron products.

        - <<ASTM A153/A153M>>, for galvanizing steel and iron hardware.

      - Aluminum:  Alloy and temper recommended by aluminum producer and finisher for type of use, corrosion resistance, and finish indicated; manufacturer's standard strengths and thicknesses for type of use.

        - Extruded Aluminum:<<ASTM B221>>​ .

        - Aluminum Sheet and Plate: <<ASTM B209/B209M>>​

      - Stainless-Steel Sheet, Strip, and Plate:  <<ASTM A240/A240M>> or<<ASTM A666/A666M>>, Type 304.

      - Inserts:  Furnish required concrete and masonry inserts and similar anchorage devices for installing structural members, guide rails, machines, and other lift components where installation of devices is specified in another Section.

      - Expansion Anchors:  Anchor-bolt-and-sleeve assembly of material indicated below with capability to sustain a load equal to 10 times the load imposed as determined by testing according to<<ASTM E488/E488M>>  conducted by a qualified independent testing agency.

        - Material:  Carbon-steel components, zinc plated to comply with <<ASTM B633>>​, Class Fe/Zn 5.

      - Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with<<ASTM C1107/C1107M>> .

    - GENERAL FINISH REQUIREMENTS

      - Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

      - Appearance of Finished Work:  Noticeable variations in same piece are not acceptable.  Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

    - FINISHES

      - Steel and Galvanized-Steel Factory Finish:

        - Baked-Enamel or Powder-Coat Finish:  After cleaning and pretreating, apply manufacturer's standard two-coat, baked-on finish consisting of prime coat and thermosetting topcoat to a minimum dry film thickness of 2 mils.

        - Color and Gloss:  As selected by Architect from manufacturer's full range.

      - Aluminum Finishes:

        - Clear Anodic Finish:  <<AAMA 611>>, AA-M12C22A31, Class II, 0.010 mm or thicker.

        - Baked-Enamel or Powder-Coat Finish: <<AAMA 2603>>​  xcept with a minimum dry film thickness of 1.5 mils.  Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

          - Color and Gloss:  As selected by Architect from manufacturer's full range.

  - PART 3 - 	EXECUTION

    - EXAMINATION

      - Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, critical dimensions, and other conditions affecting performance of the Work.

      - Minimum Headroom Clearance:  Verify that installed lift will have a minimum headroom of 80 inches above any point on platform floor at any point of travel.

      - Prepare written report, endorsed by Installer, listing conditions detrimental to performance.

      - Proceed with installation only after unsatisfactory conditions have been corrected.

    - INSTALLATION

      - General:  Comply with <<ASME A18.1>>  and manufacturer's written instructions for installation of lifts unless otherwise indicated.

      - Wiring Method:  Conceal conductors and cables within housings of units or building construction.  Do not install conduit exposed to view in finished spaces.  Bundle, lace, and train conductors to terminal points with no excess and without exceeding manufacturer's limitations on bending radii.

      - Position sills accurately and fill space under sills solidly with nonshrink, nonmetallic grout.

      - Adjust stops for accurate stopping and leveling at each landing, within required tolerances.

        - Leveling Tolerance:  1/4 inch up or down, regardless of load and direction of travel.

      - Lubricate operating parts of lift, including drive mechanism, guide rails, hinges, safety devices, and hardware.

      - Test safety devices and verify smoothness of required protective enclosures and other surfaces.

    - FIELD QUALITY CONTROL

      - Acceptance Testing:  On completion of lift installation and before permitting use of lifts, perform acceptance tests as required and recommended by <<ASME A18.1>>  and authorities having jurisdiction.

      - Operating Test:  In addition to acceptance testing, load lifts to rated capacity and operate continuously for 30 minutes between lowest and highest landings served.  Readjust stops, signal equipment, and other devices for accurate stopping and operation of system.

      - Advise Owner, Architect, and authorities having jurisdiction in advance of dates and times tests are to be performed on lifts.

    - MAINTENANCE SERVICE

      - Initial Maintenance Service:  Beginning at Substantial Completion, maintenance service shall include 12 months' full maintenance by skilled employees of lift Installer.  Include quarterly preventive maintenance, repair or replacement of worn or defective components, lubrication, cleaning, and adjusting as required for proper lift operation.  Parts and supplies shall be manufacturer's authorized replacement parts and supplies.

    - DEMONSTRATION

      - Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain lifts.  Include a review of emergency systems and emergency procedures to be followed at time of operational failure and other building emergencies.

      - Check operation of lifts with Owner's personnel present and before date of Substantial Completion.  Determine that operating systems and devices are functioning properly.

      - Check operation of lifts with Owner's personnel present not more than one month before end of warranty period.  Determine that operating systems and devices are functioning properly.

- END OF SECTION