## CONTROL
Set | Count | ID Rule Check
PROMPT_VERSION | v1.6 | OK
BASE_FILENAME | 144200-USER-Wheelchair Lifts.docx | OK
REFERENCE_FILENAMES | Section 144200 - WHEELCHAIR LIFTS.docx | OK
SECTIONNUMBER | 144200 | OK
SECTIONTITLE | WheelchairLifts | OK
DATE | 2026-02-19 | OK
ADDS | 5 | OK
TWEAKS | 5 | OK
DECISIONS | 1 | OK

## ADDS
ID | StableKey | Location in Base | Add This Text (full paragraph[s]) | Notes (Mandatory/Optional/Selector) | Source (Reference filename + Article/Heading)
ADD-001 | PART 1 / INFORMATIONAL SUBMITTALS / Product Certificates ¦ Code Compliance Certification | PART 1 / INFORMATIONAL SUBMITTALS | Product Certificates: For each type of lift, submit manufacturer certification stating that lifts comply with ASME A18.1 and applicable accessibility standards indicated. | Mandatory | Section 144200 - WHEELCHAIR LIFTS.docx / INFORMATIONAL SUBMITTALS
ADD-002 | PART 1 / INFORMATIONAL SUBMITTALS / Evaluation Reports ¦ Anchor Evaluation Reports | PART 1 / INFORMATIONAL SUBMITTALS | Evaluation Reports: For post-installed anchors, submit ICC-ES evaluation reports demonstrating compliance with applicable acceptance criteria for substrates indicated. | Mandatory | Section 144200 - WHEELCHAIR LIFTS.docx / FASTENERS
ADD-003 | PART 2 / PERFORMANCE REQUIREMENTS / Fire Rated Doors ¦ Fire Rated Runway Doors | PART 2 / PERFORMANCE REQUIREMENTS | Fire-Rated, Runway-Enclosure Door Assemblies: Where required, provide assemblies complying with NFPA 80 and listed and labeled for fire-protection ratings indicated. | Optional | Section 144200 - WHEELCHAIR LIFTS.docx / PERFORMANCE REQUIREMENTS
ADD-004 | PART 3 / INSTALLATION / Anchorage Methods ¦ Substrate Specific Anchorage | PART 3 / INSTALLATION | Secure lifts to building construction using anchorage methods appropriate for substrate, including post-installed anchors in concrete and masonry and lag bolts or blocking in framed partitions. | Mandatory | Section 144200 - WHEELCHAIR LIFTS.docx / INSTALLATION
ADD-005 | PART 3 / FIELD QUALITY CONTROL / Operating Test ¦ Continuous Operation Test | PART 3 / FIELD QUALITY CONTROL | Operating Test: Load lifts to rated capacity and operate continuously for 30 minutes between lowest and highest landings served. | Mandatory | Section 144200 - WHEELCHAIR LIFTS.docx / FIELD QUALITY CONTROL

## TWEAKS
ID | StableKey | Location in Base | Original Base Text | Revised Base Text | Notes (Fix/Policy/Selector) | Source (Reference filename + Article/Heading)
TWEAK-001 | PART 1 / WARRANTY / Warranty Period ¦ Warranty Duration Options | PART 1 / WARRANTY | Warranty Period: Two years from date of Substantial Completion. | Warranty Period: [Two] [Three] [Five] years from date of Substantial Completion. | Selector | Section 144200 - WHEELCHAIR LIFTS.docx / WARRANTY
TWEAK-002 | PART 1 / SUBMITTALS / Shop Drawings ¦ Load And Clearance Data | PART 1 / SUBMITTALS | Shop Drawings: For each lift. | Shop Drawings: For each lift, include plans, elevations, sections, required clearances, and loads imposed on building structure. | Fix | Section 144200 - WHEELCHAIR LIFTS.docx / ACTION SUBMITTALS
TWEAK-003 | PART 2 / PERFORMANCE REQUIREMENTS / Accessibility ¦ Accessibility Standard Reference | PART 2 / PERFORMANCE REQUIREMENTS | Accessibility Requirements: Comply with ICC A117.1. | Accessibility Requirements: Comply with applicable provisions of ICC A117.1 and ASME A18.1. | Policy | Section 144200 - WHEELCHAIR LIFTS.docx / PERFORMANCE REQUIREMENTS
TWEAK-004 | PART 3 / EXAMINATION / Headroom ¦ Headroom Verification | PART 3 / EXAMINATION | Verify substrates and conditions. | Verify substrates and conditions, including minimum required headroom clearance in accordance with accessibility requirements. | Fix | Section 144200 - WHEELCHAIR LIFTS.docx / EXAMINATION
TWEAK-005 | PART 3 / INSTALLATION / Installation Standard ¦ Code And Manufacturer Compliance | PART 3 / INSTALLATION | Install lifts in accordance with ASME A18.1 and manufacturer's instructions. | Install lifts in accordance with ASME A18.1, applicable accessibility standards, and manufacturer's written instructions. | Policy | Section 144200 - WHEELCHAIR LIFTS.docx / INSTALLATION

## DECISIONS
Topic | Location in Base | Options | Recommended approach | Impact
Accessibility Standard | PART 2 / PERFORMANCE REQUIREMENTS | ADA Standards; ABA Standards; ICC A117.1 | Retain ICC A117.1 with ASME A18.1 to align with Base section intent. | Maintains enforceable accessibility compliance without over-specification.

## BASE_FULL_TEXT
Line No | Text
1 | Section 144200 - Wheelchair Lifts
2 | PART 1 - GENERAL
3 | SECTION INCLUDES
4 | Delegated Design.
5 | Vertical platform lifts.
6 | REFERENCES
7 | ASME A18.1 - Safety Standard for Platform Lifts and Stairway Chairlifts; 2017.
8 | ANSI A117.1 - Accessible and Usable Buildings and Facilities; 2017.
9 | SUBMITTALS
10 | Product Data: For each type of product.
11 | Shop Drawings: For each lift.
12 | INFORMATIONAL SUBMITTALS
13 | Product Certificates: For each type of lift.
14 | Operation and Maintenance Data: For each type of lift.
15 | QUALITY ASSURANCE
16 | Installer Qualifications: An authorized representative who is trained and approved by manufacturer.
17 | WARRANTY
18 | Warranty Period: Two years from date of Substantial Completion.
19 | PART 2 - PRODUCTS
20 | PERFORMANCE REQUIREMENTS
21 | Accessibility Requirements: Comply with ICC A117.1.
22 | Regulatory Requirements: Comply with ASME A18.1.
23 | PART 3 - EXECUTION
24 | EXAMINATION
25 | Verify substrates and conditions.
26 | INSTALLATION
27 | Install lifts in accordance with ASME A18.1 and manufacturer's instructions.
28 | FIELD QUALITY CONTROL
29 | Acceptance Testing: Perform acceptance tests.
30 | END OF SECTION